## Pumping Test
PUMPING TEST FIELD SHEET (STEP / CONSTANT DISCHARGE)
Community | Dr. Timbo's Residence |  | Date | 10/05/2018 |  | GPS Coordinate East
Client | Dr. Timbo |  | Length of each step (min) |  |  | GPS Coordinate North
Test conducted by | WiNGiN |  | Start time | 17:14 |  | UTM Zone (28N or 29N)
Borehole Ref. No. | BH-1 |  | Depth of Borehole (m) | 70 |  | Elevation (m)
Static water level (m) | 9.44 |  | Pump setting (m) | 67
Test type (step or constant) | constant |  | District | Western Area Rural
Discharge per step (m3/h) | Step 1 Q | 2.93 |  | Step 2 Q |  |  | Step 3 Q |  |  | Step 4 Q
Constant discharge 0-60 min |  |  | Constant discharge 61-120 min |  |  | Constant discharge 121-180 min |  |  | Constant discharge 181-240 min |  |  | Recovery
Time (min) | Water Level (m) | Drawdown (m) | Time (min) | Water Level (m) | Drawdown (m) | Time (min) | Water Level (m) | Drawdown (m) | Time (min) | Water Level (m) | Drawdown (m) | Time (min) | Water Level (m) | Recovery (m)
0 | 9.44 | 0 | [9 empty] | 0 | 42.26 | 0
1 | 13.1 | 3.66 | [9 empty] | 1 | 42.2 | 0.06
2 | 15.5 | 2.4 | [9 empty] | 2 | 41.78 | 0.42
3 | 17.41 | 1.91 | [9 empty] | 3 | 41.39 | 0.39
4 | 18.37 | 0.96 | [9 empty] | 4 | 41.14 | 0.25
5 | 19.34 | 0.97 | [9 empty] | 5 | 39.67 | 1.47
10 | 27.34 | 8 | [9 empty] | 10 | 38.38 | 1.29
15 | 30.76 | 3.42 | [9 empty] | 15 | 37.26 | 1.12
20 | 33.34 | 2.58 | [9 empty] | 20 | 35.26 | 2
25 | 37.77 | 4.43 | [9 empty] | 25 | 35.18 | 0.08
30 | 42.26 | 4.49 | [9 empty] | 30 | 34.58 | 0.6
[12 empty] | 35 | 33.85 | 0.73
[12 empty] | 40 | 33.18 | 0.67
[12 empty] | 45 | 32.55 | 0.63
[12 empty] | 50 | 31.95 | 0.6
[12 empty] | 55 | 31.05 | 0.9
[12 empty] | 60 | 30.38 | 0.67
Notes: record depth to water in metres below the measuring point. The Drawdown and Recovery columns are the change between successive readings; the analysis recomputes true drawdown from the static water level. Recovery time is minutes since the pump stopped. Record the discharge of every step; results stay provisional until discharge is supplied.